## VampProj
Natural constants:
[10 empty] | Price kWh |  | 0.4
[10 empty] | h/Year |  | 8766
| Total investment | 13.97 | [7 empty] | CO2/kWh |  | 0.7
| Saving kWh/Year | 182.3766
| Saving Euro/Year | 72.9507
| Saving kg CO2/Year | 127.6636
Use means use factor, up to 1 for continuous usage
Old is power before innovation
New is power after innovation
Proj | Project |  |  | Power details |  |  | Replacement |  |  | Savings
Nr | Device | Location | Date | Use | Old | New | New device | Installing | Cost | kWh/Y | Euro/Y | Month | Remark
1 | HK Amp | Office | 2019-01-01 | 0.5 | 4 | 1 | SMP Plug 9V | Ready | 1.75 | 13.149 | 5.2596 | 4
2 | CassRec Ph AZ8052 | Blue Room | 2019-01-01 | 1 | 1.8 | 0 | Chord switch | Cut chord | 0.5 | 15.7788 | 6.3115 | 1
3 | PC Speaker | Red Room | 2019-03-18 | 1 | 4 | 1 | SMP Plug 9V | Cut Chord | 0.1 | 26.298 | 10.5192 | 0
4 | PrachtPatser | Living | 2019-03-23 | 1 | 2.3 | 1.1 | SMP Plug 12V | Mount Jack | 1.9 | 10.5192 | 4.2077 | 5 | Replaced
5 | Phil AE2300 | Red Room | 2019-03-23 | 1 | 1 | 0.1 | SMP Plug 9V | Mount Jack | 1.9 | 7.8894 | 3.1558 | 7 | Undone
6 | Phil D2130 | Dressing Rm | 2019-03-18 | 1 | 1.3 | 0 | Chord switch | Cut chord | 0.5 | 11.3958 | 4.5583 | 1
7 | Grundig OB204 | Laundry Rm | 2019-03-25 | 1 | 1.8 | 0 | Chord switch | Mount Jack | 0.2 | 15.7788 | 6.3115 | 0
8 | Modem | Living | 2019-04-07 | 1 | 12 | 9.2 | ExpBox V10a | Ready | 3.6 | 24.5448 | 9.8179 | 4
9 | Philips D2000 | Storage | 2019-03-23 | 0.01 | 0.6 | 0.1 | SMP Plug 9V | Mount Jack | 0.12 | 0.04383 | 0.017532 | 82
10 | Bench | Kitchen |  | 1 | 2 | 2 | No action |  |  | 0 | 0
11 | AliAmp | Living | 2019-04-05 | 1 | 1.8 | 1.2 | 6v Transformer | Build | 3 | 5.2596 | 2.1038 | 17
12 | Selecttime | Barn | 2019-04-20 | 1 | 1 | 0.1 | Ballast Cap 30nF | Soldering | 0.2 | 7.8894 | 3.1558 | 1
13 | Bed matrass | Sleeping room | 2022-12-01 | 1 | 5 | 0 | Chord switch | Cut chord | 0.2 | 43.83 | 17.532 | 0 | Vampire draw of transformer for matrass actuator
14 | [9 empty] | 0 | 0
15 | [9 empty] | 0 | 0
16 | [9 empty] | 0 | 0
17
18
Projects Before 2017
1 | JVC 230 | Living | 2014-07-01 | 0.5 | 20 | 4.6 | PrachtPatser | Build | 2 | 67.4982 | 26.9993 | 1